## About
BRESaC Percent Energy Savings from Retrofitting by Component
BRESaC Retrofitting Cost per Unit Energy Saved
Source: | Assessing the Implementation of the Energy Management System in the First ISO 50001 Building in Indonesia
Robi Kurniawan, Agung Feinnudin
Ministry of Energy and Mineral Resources
2021
https://www.researchgate.net/profile/Robi-Kurniawan/publication/354270440_Assessing_the_Implementation_of_the_Energy_Management_System_in_the_First_ISO_50001_Building_in_Indonesia/links/612f29840360302a006f868a/Assessing-the-Implementation-of-the-Energy-Management-System-in-the-First-ISO-50001-Building-in-Indonesia.pdf
Note: | Due to lack of data, we assume the energy reduction after retrofitting in residential building is approximately the same as commercial building

## Data
Study Case: Slamet Bratanata Building, Indonesia
Type | Retrofitting Strategy | Investment Cost ($) | Energy Saving (MWh/year) | Cost reduced per BTU
Cooling | Replacing old Chiller with Mini Chiller (VRF technology) | 68395 | 175 | 0.00011455
Lighting | Replacing lighting system with LED (762 lamps) | 11942 | 85 | 4.1176e-05
Envelope | Window Film Installation | 20518 | 50 | 0.00012027
Total |  | 100855 | 310 | 0.00027599
Energy reduction after retrofitting
| Energy Consumption before retrofitting in 2018 (MWh) | 2200
| Energy Consumption after cooling retrofitting (MWh) | 2025
| Energy Consumption after lighting retrofitting (MWh) | 2115
| Energy Consumption after envelope retrofitting (MWh) | 2150
| Reduction after cooling retrofitting (%) | 7.955%
| Reduction after lighting retrofitting (%) | 3.864%
| Reduction after envelope retrofitting (%) | 2.273%
Conversion Factor
| mWh to BTU | 3412000

## BRESaC-energy
Percent energy saving (dimensionless) | urban residential | rural residential | commercial
heating | 0 | 0 | 0
cooling and ventilation | 0.079545 | 0.079545 | 0.079545
envelope | 0.022727 | 0.022727 | 0.022727
lighting | 0.038636 | 0.038636 | 0.038636
appliances | 0 | 0 | 0
other component | 0 | 0 | 0

## BRESaC-cost
$/BTU | urban residential | rural residential | commercial
heating | 0 | 0 | 0
cooling and ventilation | 0.00011455 | 0.00011455 | 0.00011455
envelope | 0.00012027 | 0.00012027 | 0.00012027
lighting | 4.1176e-05 | 4.1176e-05 | 4.1176e-05
appliances | 0 | 0 | 0
other component | 0 | 0 | 0