## About
Source: | PV and Battery
https://docs.google.com/spreadsheets/d/1fWx2Nak8GdZuL2g9Tq-l0IMYAf5tJmHjynz711nrw5Q/edit?usp=sharing
Notes | We assume BAU GBSC is the 75% of the estimated GBSC and Potential Additional GBSC is the rest 25%

## Calculation
Current Policy Scenarion (CPS)
Electricity storage output (GW) | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Battery utility | 0 | 0 | 0 | 0.23973 | 1.1073 | 2.5228 | 5.605
Battery prosumers – C&I | 0 | 0 | 0.19406 | 0.53653 | 0.91324 | 1.6895 | 2.8082
Battery prosumers – RES | 0 | 0 | 0.011416 | 0.45662 | 0.79909 | 1.4954 | 2.4886
PHES | 0 | 0.11416 | 0.34247 | 0.58219 | 0.57078 | 0.65068 | 0.67352
A–CAES | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0.11416 | 0.54795 | 1.8151 | 3.3904 | 6.3584 | 11.5753
Note: we use the CPS data for estimating the GBSC
Delayed Policy Scenario (DPS)
Electricity storage output [TWh_{el}] | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Battery utility | 0 | 0 | 0 | 7,7 | 137,9 | 391,9 | 620,7
Battery prosumers – C&I | 0 | 0 | 4 | 9,4 | 20 | 33,5 | 46,2
Battery prosumers – RES | 0 | 0 | 0,3 | 8 | 17,5 | 29,6 | 46,7
PHES | 0 | 1 | 3 | 7 | 7,2 | 7,1 | 7,2
A–CAES | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 1 | 7,3 | 32,1 | 182,6 | 462,1 | 720,8
Best Policy Scenario (BPS)
Electricity storage output [TWh_{el}] | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Battery utility | 0 | 0 | 0,1 | 198,3 | 383,9 | 605 | 734,5
Battery prosumers – C&I | 0 | 0 | 7,1 | 14,1 | 30 | 44,6 | 66,4
Battery prosumers – RES | 0 | 0 | 1,1 | 12 | 26,3 | 39,5 | 69
PHES | 0 | 0,8 | 4 | 7 | 7,4 | 7,1 | 6,9
A–CAES | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0,8 | 12,3 | 231,4 | 447,6 | 696,2 | 876,8

## BGBSC
Unit: MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Grid Battery Storage Capacity | 0 | 0 | 0 | 0.034247 | 0.05137 | 0.068493 | 0.085616 | 0.15068 | 0.21575 | 0.28082 | 0.34589 | 0.41096 | 0.60103 | 0.7911 | 0.98116 | 1.1712 | 1.3613 | 1.5976 | 1.8339 | 2.0702 | 2.3065 | 2.5428 | 2.988 | 3.4332 | 3.8784 | 4.3236 | 4.7688 | 5.5514 | 6.3339 | 7.1164 | 7.899 | 8.6815

## PAGBSC
Unit: MW | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Potential Additional Grid Battery Storage Capacity | 0 | 0 | 0 | 0.011416 | 0.017123 | 0.022831 | 0.028539 | 0.050228 | 0.071918 | 0.093607 | 0.1153 | 0.13699 | 0.20034 | 0.2637 | 0.32705 | 0.39041 | 0.45377 | 0.53253 | 0.6113 | 0.69007 | 0.76884 | 0.8476 | 0.996 | 1.1444 | 1.2928 | 1.4412 | 1.5896 | 1.8505 | 2.1113 | 2.3721 | 2.633 | 2.8938

## SYGBSC
Unit: MW | Battery Storage Capacity
Start Year | 0